|  |  |
| --- | --- |
| **Analysis :** | Immunological assessment of complement component Factor Bb |
| **Institution :** | Laboratoire Hospitalier Universitaire de Bruxelles - Université Libre de Bruxelles (LHUB-ULB) |
| **Supervisor :** | Pr. Dr. Francis Corazza (1) or Dr. Patrick Stordeur (2)  (1) [francis.corazza@lhub-ulb.be](mailto:francis.corazza@lhub-ulb.be) ; (2) [patrick.Stordeur@lhub-ulb.be](mailto:patrick.Stordeur@lhub-ulb.be%20) |
| **Method :** | ELISA assay. |
| **Minimum amount of sample (1) and instructions for the collection (2), storage (3) and transport of the sample (4) :** | |
| * 1 : 0.5 mL * 2 : plasma EDTA * 3 : 4 hours at room temperature or plasma at -20°C during 1 month * 4 : The sample tube is sent at room temperature and must reach the laboratory within 4 hours after collection, on Monday to Friday, before 4 p.m.   If this is not possible, please centrifuge and separate the plasma, freeze at -20°C in twoaliquots, and ship frozen. | |
| **Denied requests :** | |
| * Incomplete or missing request form. * Samples delivered after poor transport / storage conditions (broken or open tubes, degraded sample, etc.). * Duplicate samples (multiple samples collected the same day for the same patient). * The request for the analysis doesn’t correspond to the analysis(es) performed by the reference center. | |
| **Turnaround time (necessary time to perform the analysis and to send the validated results to the prescriber) :** | |
| * Average turnaround time : 3 to 17 days * Adaptation of the time required to carry out the test in case of emergency (cf. checkbox at the end of the analysis request form). | |